## Library and Clean
NexteraXT Library Prep check sheet
Date:
Your name:
Sample Sheet file name:
Library prep kit lot number and expiration date:
Check | Tagementation
Ensure sample DNA is diluted to 0.3 ng/µl with molecular grade water
Turn on PCR machine
Make sure Tagmentation protocol is present: 55C 5mins, hold 10C
Take out ATM and TD buffer to thaw, invert a few times (do not vortex), spin down and place on ice
Take out NT buffer if not already at Room Temperature
Make sure there are no precipitates in the NT buffer
Label a 96well PCR plate NTA plate
Aliquot 7 μl of NT per sample well into strip tubes
Add 10µl of TD to each sample well in NTA plate
Add 5µl of diluted input DNA (0.3 ng/µl) to each sample well
Add 5µl of ATM to each sample well
Mix up and down 5 times
Cover plate with Microseal B and spin down for 1min at 280xG
Run Tagmentation protocol on PCR machine
As soon as PCR machine reaches 10°C, remove seal and add 5µl of NT buffer to each well and mix 5 times. Use multichannel
Cover plate with new sealing film and spin down for 1min at 280xG
RT 5min, proceed to indexing
Check | Indexing
Make sure index programme is on PCR machine: 72°C for 3 minutes 95°C for 30 seconds 12 cycles – 95°C for 10 seconds ; 55°C for 30 seconds ; 72°C for 30 seconds 72°C for 5 minutes Hold at 4°C - 50 μl per reaction - Heated Lid
Take out NPM and Index Primers to thaw.
Quickly spin down reagents and place on ice.
Place NTA plate on the Indexing plate and put the correct primers in correct positions
Add 15µl of NPM to each sample well in NTA (can use multichannel)
Add 5µl of Index 2 Primers to appropriate wells. Replace with new caps
Add 5µl of Index 1 Primers to appropriate wells. Replace with new caps
Use multichannel to mix
Seal plate with new Microseal B and spind down for 1min at 280xG
Run index programme, proceed to PCR clean up
SAFE STOPPING POINT: if you need to stop and continue next day, place plate in fridge
PCR Clean up
Bring enough AMPure XP beads and RSB to RT
Prepare fresh 80% Ethanol. Make enough so that there are 500µl per sample
Label a MIDI plate CAA
Centrifuge NTA plate for 1min at 280 G
Transfer 40µl of PCR reaction from NTA to CAA
Vortex AMPure beads until well suspended
Add 24µl of AMPure beads to each sample well in CAA, pipette up and down 10x
RT for 10min without shaking
Place on magnetic stand for 2min until supernatant has cleared
On stand, remove supernatant
on stand, wash with 200µl 80% ethanol without disturbing the beads
On stand, Incubate 30sec, remove supernatant
on stand, wash with 200µl 80% ethanol without disturbing the beads
On stand, Incubate 30sec, remove supernatant
On stand, allow beads to dry for upto 15min. Use P20 to remove any visible supernatant
Remove from stand - Gently so as not to disturb or disperse the dried bead pellet.
Add 30µl of RSB to each well, pipette up and down 10x
RT for 2min
Place on magnetic stand for 2min until supernatant has cleared
Label 96well PCR plate "CAN", date, sample_sheet and your name
CAA on magnetic stand, transfer 28µl of supernatant to CAN plate
Label 96well PCR plate "QC", date, sample_sheet and your name
Add 18µl of Resuspension Buffer (RSB) into each sample well in QC plate.
Transfer 2µl of each sample from CAN plate to QC plate and pipette up and down to mix
Seal CAN plate with Microseal B. Stored in -20C in a plastic bag.
Proceed to QC. Run picogreen using 5µl and Fragment Analyzer using 2µl from QC plate

## Library analysis
Copy Fragment Analyzer and PicoGreen library quantification results here.
| Date: | 2020-05-01
| Your name: | ymantziou
| Sample Sheet file name: | 20200429LP_YM
| Indexing Set: | Set D
| Sample name | Concentration (ng/µl) | Average Length (bp) | nmol/L estimate | 4nmol/L | RSB | Well | Add to pool (µl) | Organism | Genome size (Mbp) | 2nmol/L | RSB
1 | 20AR0267 | 21.0946 | 814 | 39.2647 | 2.0375 | 17.9625 | A01 | 5 | E. coli | 5 | 1.0187 | 18.9813
2 | 20AR0272 | 23.0006 | 847 | 41.1446 | 1.9444 | 18.0556 | A02 | 5 | E. coli | 5 | 0.97218 | 19.0278
3 | 20AR0276 | 13.0416 | 1034 | 19.1103 | 4.1862 | 15.8138 | A03 | 5 | E. coli | 5 | 2.0931 | 17.9069
4 | 20AR0288 | 10.1414 | 1173 | 13.0996 | 6.1071 | 13.8929 | A04 | 5.6 | E. cloacae complex | 5.6 | 3.0535 | 16.9465
5 | 20AR0289 | 10.9622 | 908 | 18.2924 | 4.3734 | 15.6266 | A05 | 4 | P. mirabilis | 4 | 2.1867 | 17.8133
6 | 20AR0290 | 12.1296 | 1122 | 16.3798 | 4.8841 | 15.1159 | A06 | 5.3 | K. pnuemoniae | 5.3 | 2.442 | 17.558
7 | 20AR0295 | 20.0275 | 917 | 33.0913 | 2.4176 | 17.5824 | A07 | 5 | E. coli | 5 | 1.2088 | 18.7912
8 | 20AR0300 | 21.3134 | 936 | 34.5012 | 2.3188 | 17.6812 | A08 | 5 | E. coli | 5 | 1.1594 | 18.8406
9 | 20AR0305 | 13.9901 | 882 | 24.033 | 3.3288 | 16.6712 | A09 | 5 | E. coli | 5 | 1.6644 | 18.3356
10 | 20AR0308 | 25.7914 | 996 | 39.2348 | 2.039 | 17.961 | A10 | 5 | E. coli | 5 | 1.0195 | 18.9805
11 | 20ER1185 | 14.1269 | 1173 | 18.2475 | 4.3842 | 15.6158 | A11 | 5 | STEC | 5 | 2.1921 | 17.8079
12 | 20ER1227 | 22.8365 | 739 | 46.821 | 1.7086 | 18.2914 | B01 | 5 | STEC | 5 | 0.85432 | 19.1457
13 | 20ER1228 | 24.4872 | 783 | 47.3842 | 1.6883 | 18.3117 | B02 | 5 | STEC | 5 | 0.84416 | 19.1558
14 | 20ER1237 | 20.8392 | 822 | 38.4119 | 2.0827 | 17.9173 | B03 | 5 | STEC | 5 | 1.0413 | 18.9587
15 | 20ER1205 | 13.4702 | 934 | 21.8517 | 3.661 | 16.339 | B04 | 5 | Salm | 5 | 1.8305 | 18.1695
16 | 20ER1226 | 11.4091 | 1092 | 15.8302 | 5.0536 | 14.9464 | B05 | 5 | Salm | 5 | 2.5268 | 17.4732
17 | 20ER1231 | 14.4734 | 1104 | 19.8636 | 4.0275 | 15.9725 | B06 | 5 | Salm | 5 | 2.0137 | 17.9863
18 | 20ER1232 | 11.473 | 1276 | 13.6233 | 5.8723 | 14.1277 | B07 | 5 | Salm | 5 | 2.9362 | 17.0638
19 | 20ER1233 | 21.1584 | 990 | 32.382 | 2.4705 | 17.5295 | B08 | 5 | Salm | 5 | 1.2353 | 18.7647
20 | 20ER1240 | 9.7675 | 1281 | 11.5529 | 6.9247 | 13.0753 | B09 | 5 | Salm | 5 | 3.4623 | 16.5377
21 | 20ER1241 | 11.3179 | 1325 | 12.9422 | 6.1813 | 13.8187 | B10 | 5 | Salm | 5 | 3.0907 | 16.9093
22 | CMB200436 | 8.0438 | 969 | 12.5775 | 6.3605 | 13.6395 | B11 | 3 | Listeria monocytogenes | 3 | 3.1803 | 16.8197
23 | 20ER1206 | 22.1707 | 808 | 41.5743 | 1.9243 | 18.0757 | C01 | 5 | STEC | 5 | 0.96213 | 19.0379
24 | 20ER1207 | 17.3645 | 737 | 35.6985 | 2.241 | 17.759 | C02 | 5 | STEC | 5 | 1.1205 | 18.8795
25 | 20ER1208 | 7.8888 | 1073 | 11.1395 | 7.1816 | 12.8184 | C03 | 5 | STEC | 5 | 3.5908 | 16.4092
26 | 20ER1209 | 9.9134 | 1188 | 12.6434 | 6.3274 | 13.6726 | C04 | 5 | STEC | 5 | 3.1637 | 16.8363
27 | 20ER1210 | 8.363 | 1188 | 10.6661 | 7.5004 | 12.4996 | C05 | 5 | STEC | 5 | 3.7502 | 16.2498
28 | 20ER1211 | 12.385 | 981 | 19.1285 | 4.1822 | 15.8178 | C06 | 5 | STEC | 5 | 2.0911 | 17.9089
29 | 20ER1212 | 13.9171 | 944 | 22.3374 | 3.5814 | 16.4186 | C07 | 5 | STEC | 5 | 1.7907 | 18.2093
30 | 20ER1213 | 13.1693 | 976 | 20.4441 | 3.9131 | 16.0869 | C08 | 5 | STEC | 5 | 1.9566 | 18.0434
31 | 20ER1214 | 17.2368 | 914 | 28.5737 | 2.7998 | 17.2002 | C09 | 5 | STEC | 5 | 1.3999 | 18.6001
32 | 20ER1215 | 17.6198 | 888 | 30.0639 | 2.661 | 17.339 | C10 | 5 | STEC | 5 | 1.3305 | 18.6695
33 | 20ER1216 | 24.9341 | 692 | 54.5938 | 1.4654 | 18.5346 | C11 | 5 | STEC | 5 | 0.73268 | 19.2673
34 | 20ER1217 | 19.2706 | 808 | 36.1359 | 2.2139 | 17.7861 | D01 | 5 | STEC | 5 | 1.1069 | 18.8931
35 | 20ER1218 | 14.9659 | 940 | 24.123 | 3.3163 | 16.6837 | D02 | 5 | STEC | 5 | 1.6582 | 18.3418
36 | 20ER1219 | 17.1091 | 946 | 27.4027 | 2.9194 | 17.0806 | D03 | 5 | STEC | 5 | 1.4597 | 18.5403
37 | 20ER1220 | 8.0894 | 1134 | 10.8084 | 7.4016 | 12.5984 | D04 | 5 | STEC | 5 | 3.7008 | 16.2992
38 | 20ER1221 | 9.2294 | 1134 | 12.3316 | 6.4874 | 13.5126 | D05 | 5 | STEC | 5 | 3.2437 | 16.7563
39 | 20ER1222 | 9.8131 | 1021 | 14.5626 | 5.4935 | 14.5065 | D06 | 5 | STEC | 5 | 2.7468 | 17.2532
40 | 20ER1223 | 20.4926 | 805 | 38.5708 | 2.0741 | 17.9259 | D07 | 5 | STEC | 5 | 1.0371 | 18.9629
41 | 20ER1224 | 16.4251 | 906 | 27.4686 | 2.9124 | 17.0876 | D08 | 5 | STEC | 5 | 1.4562 | 18.5438
42 | 20ER1225 | 8.8738 | 1087 | 12.369 | 6.4678 | 13.5322 | D09 | 5 | STEC | 5 | 3.2339 | 16.7661
43 | NC | 0.38304 | 0.16 | 3627.2727 | 0.022055 | 19.9779 | D10 | 5 | Negative control | 0 | 0.011028 | 19.989